19-3

Electrolysis of Water

Source:  Bassam Z. Shakhashiri (1992) Chemical Demonstrations: A Handbook for Teachers of Chemistry,Vol.4.  p156.

Description:  Water is decomposed into hydrogen and oxygen gases using electricity.  A Hoffman electrolysis apparatus collects the two gases separately and shows the 2 to 1 ratio nicely.  If a pH indicator is used the anode becomes yellow and cathode becomes blue.  Hydrogen gas can be burned to produce a small pop sound and the oxygen can be used to re-ignite a glowing wooden splint.

Concept:  When a DC current is passed though an aqueous sodium sulfate solution, water is oxidized at the anode producing O2 and reduced at the cathode producing H2.  The solution becomes acidic at the anode and basic at the cathode.

Materials:

- Hoffman electrolysis apparatus

- 2 electrodes - one is nichrome wire and the other is platinum wire and foil

- DC power supply with clip leads	(borrow from EIS)

- Column Stand

- 1 Liter beaker

- 1 Liter of 1 M Sodium Sulfate

- 60 mL of bromothymol blue (optional)

- 10 mL of 1M Hydrochloric acid (optional)

- 10 mL of 1M Sodium hydroxide (optional)

- stirring rod

- Pasteur pipettes

- ruler

- candle

- matches

- 2 test tubes

- wooden splints

Safety:  Be careful of explosive hydrogen and oxygen mixtures.  It is a good idea to burn the gases off to prevent a dangerous mixture.

Sodium Sulfate, Hydrochloric acid, and Sodium Hydroxide will irritate skin.  Wear gloves and goggles.

Procedure:  (See diagram in Notes section)

Before Class:

Insert the electrodes on the Hoffman apparatus.

Mount the apparatus on the column stand.

If indicator is needed, add the bromothymol blue to the sodium sulfate.  It will turn the sodium sulfate solution blue, but you want it to be green.  Add drops of NaOH to make more blue and/or HCl to make more yellow until the solution is green.

Close the stop cocks on the Hoffman apparatus.  Pour the sodium sulfate into the apparatus through the bulb until the bulb is almost full.  Open one of the stop cocks and let the solution fill that arm of the apparatus.  You may need to add more sodium sulfate solution to make sure that the arm is completely full.  Do the same for the other side.

During Class:

At the beginning of class, clip the black lead from the negative terminal of the power supply to the cathode marked with a +. Clip the red lead form the positive terminal of the power supply to the other electrode (this will be the anode).  Bubbles should start to evolve on both electrodes.  Adjust the power supply to 15-20 volts and 1.5 amperes.  Make sure that bubbling is not too vigorous to push bubbles of gas to the middle (filling) arm of the Hoffman Apparatus.

Allow the electrolysis to continue during the lecture.

Towards the end of class (after about 45 minutes) you should have about 22 cm of H2 and 11 cm of O2.  Turn the power supply off and disconnect the leads. Measure the amount of gas with the ruler.

Light the candle and make a match handy.  Open the stop cock on the cathode (audience left) side and collect the H2 in a test tube.  Put your finger over the top of the test tube.  Light the match in the candle and then put the match up to the mouth of the test tube.  It should make a soft pop.

Collect the O2 gas at the anode in another test tube.  Light  the splint in the candle and let burn for a few seconds.  Blow the splint out and while it is still glowing insert it into the test tube.  It should re-ignite the splint.

Clean-Up:

Make sure the power supply is off and turned down to the lowest settings.

Close both stop cocks.  Pour the sodium sulfate solution back into the beaker from the bulb until the middle arm of the apparatus is emptied.  Empty the other arms through the stopcocks.  The sodium sulfate solution with or without indicator can be reused.  Pour the contents of the beaker into a bottle.

Rinse the apparatus with plenty of water and then distilled water.  Remove the electrodes and rinse with distilled water.  Let the apparatus and electrodes dry.

Wipe up any spills of sodium sulfate.

Notes:  Handling this apparatus can be tricky and it takes some practice to set this demo up and the clean it up.  Be careful not to break our Hoffman Apparatus.

Burning the gases: making the pop and re-igniting the glowing splint is also tricky and requires some practice.

Developed for Prof. Shiners Environmental C101 class, but has been used in the past in C101 and C105 classes.

At the anode:  2 H2O (l)  =  O2 (g)   +   4 H+ (aq)  +  4 e-  (indicator  yellow-acid)

At the cathode:  4 H2O (l)  +  4 e-  =  2  H2 (g)  +  4  OH- (aq)  (indicator blue-base)